HB 3227-S - DIGEST

(SUBSTITUTED FOR - SEE 2ND SUB)

Provides that in aquatic rehabilitation zone one, any new or retrofitted on-site sewage disposal systems installed after July 1, 2009, may not discharge to ground or surface waters more than twenty milligrams per liter of total nitrogen.

Provides that in aquatic rehabilitation zone one, any new or retrofitted wastewater treatment system installed after July 1, 2009, must use all known, available, and reasonable methods of nitrogen removal.