CERTIFICATION OF ENROLLMENT

SUBSTITUTE SENATE BILL 6710

60th Legislature

2008 Regular Session

| Passed by the Senate February 19, 2008 YEAS 47 NAYS 0 ________________________________________ President of the Senate Passed by the House March 5, 2008 YEAS 96 NAYS 0 ________________________________________ Speaker of the House of Representatives |  | CERTIFICATE I, Thomas Hoemann, Secretary of the Senate of the State of Washington, do hereby certify that the attached is SUBSTITUTE SENATE BILL 6710 as passed by the Senate and the House of Representatives on the dates hereon set forth. ________________________________________ Secretary |
| --- | --- | --- |
| Approved ________________________________________ Governor of the State of Washington |  | FILED Secretary of State State of Washington |

_____________________________________________

SUBSTITUTE SENATE BILL 6710

_____________________________________________

Passed Legislature - 2008 Regular Session

| State of Washington | 60th Legislature | 2008 Regular Session |
| --- | --- | --- |

By Senate Labor, Commerce, Research & Development (originally sponsored by Senators Keiser and Marr; by request of Washington State Patrol)

READ FIRST TIME 02/07/08.

AN ACT Relating to standards for fire protection of hospitals; and amending RCW 70.41.080 and 18.160.050.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF WASHINGTON:

Sec. 1   RCW 70.41.080 and 2004 c 261 s 3 are each amended to read as follows:

Standards for fire protection and the enforcement thereof, with respect to all hospitals to be licensed hereunder shall be the responsibility of the chief of the Washington state patrol, through the director of fire protection, who shall adopt, after approval by the department, ((such)) the recognized standards ((as may be)) applicable to hospitals for the protection of life against the cause and spread of fire and fire hazards((. Such standards shall be consistent with the standards)) adopted by the federal centers for medicare and medicaid services for hospitals that care for medicare or medicaid beneficiaries. The standards used for an inspection of an existing hospital, or existing portion thereof, shall be standards for existing buildings and not standards for new construction. The department upon receipt of an application for a license, shall submit to the director of fire protection in writing, a request for an inspection, giving the applicant's name and the location of the premises to be licensed. Upon receipt of such a request, the chief of the Washington state patrol, through the director of fire protection, or his or her deputy, shall make an inspection of the hospital to be licensed((, and)) during the department's inspection. If it is found that the premises do not comply with the required safety standards and fire regulations as adopted pursuant to this chapter, ((he or she)) the director of fire protection, or his or her deputy, shall promptly make a written report to ((the hospital and to)) the department listing the corrective actions required ((and the time allowed for accomplishing such corrections)). The department shall incorporate the written report into the department's final inspection report. The applicant or licensee shall ((notify the chief of the Washington state patrol, through the director of fire protection, upon completion of any corrections required by him or her, and the chief of the Washington state patrol, through the director of fire protection, or his or her deputy, shall make a reinspection of such premises)) submit corrections to comply with the fire protection standards along with any other licensing inspection corrections to the department. The department shall submit the section of the statement of corrections from the applicant or licensee regarding fire protection standards to the director of fire protection. If extensive and serious corrections are required, the director of fire protection, or his or her deputy, may reinspect the premises. The director of fire protection, or his or her deputy, shall utilize the scope and severity matrix developed by the centers for medicare and medicaid services when determining what corrections will require a reinspection. Whenever the hospital to be licensed meets with the approval of the chief of the Washington state patrol, through the director of fire protection, he or she shall submit to the department, in a timely manner so the license will not be delayed, a written report approving the hospital with respect to fire protection, and such report is required before a full license can be issued. The chief of the Washington state patrol, through the director of fire protection, shall make or cause to be made inspections of such hospitals on average at least once ((a year)) every eighteen months. Inspections conducted by the joint commission on hospitals accredited by it shall be deemed equivalent to an inspection by the chief of the Washington state patrol, through the director of fire protection, for purposes of meeting the requirements for the inspections specified in this section.

The director of fire protection shall designate one lead deputy state fire marshal on a regional basis to provide consistency with each of the department's survey teams for the purpose of conducting the fire protection inspection during the department's licensing inspection. The director of fire protection shall ensure deputy state fire marshals are provided orientation with the department on the unique environment of hospitals before they conduct fire protection inspections in hospitals. The orientation shall include, but not be limited to: Clinical environment of hospitals; operating room environment; fire protection practices in hospitals; full participation in a complete licensing inspection of at least one urban hospital; and full participation in a complete licensing inspection of at least one rural hospital.

In cities which have in force a comprehensive building code, the provisions of which are determined by the chief of the Washington state patrol, through the director of fire protection, to be equal to the minimum standards of the code for hospitals adopted by the chief of the Washington state patrol, through the director of fire protection, the chief of the fire department, provided the latter is a paid chief of a paid fire department, shall make the inspection with the chief of the Washington state patrol, through the director of fire protection, or his or her deputy and they shall jointly approve the premises before a full license can be issued.

Sec. 2   RCW 18.160.050 and 2005 c 109 s 1 are each amended to read as follows:

(1)(a) All certificate of competency holders that desire to continue in the fire protection sprinkler business shall annually, prior to January 1, secure from the state director of fire protection a renewal certificate of competency upon payment of the fee as prescribed by the state director of fire protection. Application for renewal shall be upon a form prescribed by the state director of fire protection and the certificate holder shall furnish the information required by the director.

(b) Failure of any certificate of competency holder to secure his or her renewal certificate of competency within sixty days after the due date shall constitute sufficient cause for the state director of fire protection to suspend the certificate of competency.

(c) The state director of fire protection may, upon the receipt of payment of all delinquent fees including a late charge, restore a certificate of competency that has been suspended for failure to pay the renewal fee.

(d) A certificate of competency holder may voluntarily surrender his or her certificate of competency to the state director of fire protection and be relieved of the annual renewal fee. After surrendering the certificate of competency, he or she shall not be known as a certificate of competency holder and shall desist from the practice thereof. Within two years from the time of surrender of the certificate of competency, he or she may again qualify for a certificate of competency, without examination, by the payment of the required fee. If two or more years have elapsed, he or she shall return to the status of a new applicant.

(2)(a) All licensed fire protection sprinkler system contractors desiring to continue to be licensed shall annually, prior to January 1, secure from the state director of fire protection a renewal license upon payment of the fee as prescribed by the state director of fire protection. Application for renewal shall be upon a form prescribed by the state director of fire protection and the license holder shall furnish the information required by the director.

(b) Failure of any license holder to secure his or her renewal license within sixty days after the due date shall constitute sufficient cause for the state director of fire protection to suspend the license.

(c) The state director of fire protection may, upon the receipt of payment of all delinquent fees including a late charge, restore a license that has been suspended for failure to pay the renewal fee.

(3) The initial certificate of competency or license fee shall be prorated based upon the portion of the year such certificate of competency or license is in effect, prior to renewal on January 1.

(4) The fire protection contractor license fund is created in the custody of the state treasurer. All receipts from license and certificate fees and charges or from the money generated by the rules and regulations promulgated under this chapter shall be deposited into the fund. Expenditures from the fund may be used only for purposes authorized under this chapter and standards for fire protection and its enforcement, with respect to all hospitals as required by RCW 70.41.080, and for providing assistance in identifying fire sprinkler system components that have been subject to either a recall or voluntary replacement program by a manufacturer of fire sprinkler products, a nationally recognized testing laboratory, or the federal consumer product safety commission. Assistance shall include, but is not limited to, aiding in the identification of recalled components, information sharing strategies aimed at ensuring the consumer is made aware of recalls and voluntary replacement programs, and providing training and assistance to local fire authorities, the fire sprinkler industry, and the public. Only the state director of fire protection or the director's designee may authorize expenditures from the fund. The fund is subject to allotment procedures under chapter 43.88 RCW, but no appropriation is required for expenditures.

--- END ---