BILL REQ. #:  S-1252.1

_____________________________________________

SENATE BILL 5793

_____________________________________________

| State of Washington | 61st Legislature | 2009 Regular Session |
| --- | --- | --- |

By Senators Schoesler, Hewitt, Honeyford, and Morton

Read first time 02/02/09.   Referred to Committee on Labor, Commerce & Consumer Protection.

AN ACT Relating to privately operated manlifts; and amending RCW 70.87.010 and 70.87.120.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF WASHINGTON:

Sec. 1   RCW 70.87.010 and 2003 c 143 s 9 are each amended to read as follows:

((For the purposes of this chapter, except where a different interpretation is required by the context:)) The definitions in this section apply throughout this chapter unless the context clearly requires otherwise.

(1) "Owner" means any person having title to or control of a conveyance, as guardian, trustee, lessee, or otherwise((;)).

(2) "Conveyance" means an elevator, escalator, dumbwaiter, belt manlift, automobile parking elevator, moving walk, and other elevating devices, as defined in this section((;)).

(3) "Existing installations" means an installation defined as an "installation, existing" in this chapter or in rules adopted under this chapter((;)).

(4) "Elevator" means a hoisting or lowering machine equipped with a car or platform that moves in guides and serves two or more floors or landings of a building or structure;

(a) "Passenger elevator" means an elevator (i) on which passengers are permitted to ride and (ii) that may be used to carry freight or materials when the load carried does not exceed the capacity of the elevator;

(b) "Freight elevator" means an elevator (i) used primarily for carrying freight and (ii) on which only the operator, the persons necessary for loading and unloading, and other employees approved by the department are permitted to ride;

(c) "Sidewalk elevator" means a freight elevator that: (i) Operates between a sidewalk or other area outside the building and floor levels inside the building below the outside area, (ii) does not have a landing opening into the building at its upper limit of travel, and (iii) is not used to carry automobiles;

(d) "Hand elevator" means an elevator utilizing manual energy to move the car;

(e) "Inclined elevator" means an elevator that travels at an angle of inclination of seventy degrees or less from the horizontal;

(f) "Multideck elevator" means an elevator having two or more compartments located one immediately above the other;

(g) "Observation elevator" means an elevator designed to permit exterior viewing by passengers while the car is traveling;

(h) "Power elevator" means an elevator utilizing energy other than gravitational or manual to move the car;

(i) "Electric elevator" means an elevator where the energy is applied by means of an electric driving machine;

(j) "Hydraulic elevator" means an elevator where the energy is applied by means of a liquid under pressure in a cylinder equipped with a plunger or piston;

(k) "Direct-plunger hydraulic elevator" means a hydraulic elevator having a plunger or cylinder directly attached to the car frame or platform;

(l) "Electro-hydraulic elevator" means a direct-plunger elevator where liquid is pumped under pressure directly into the cylinder by a pump driven by an electric motor;

(m) "Maintained-pressure hydraulic elevator" means a direct-plunger elevator where liquid under pressure is available at all times for transfer into the cylinder;

(n) "Roped hydraulic elevator" means a hydraulic elevator having its plunger or piston connected to the car with wire ropes or indirectly coupled to the car by means of wire ropes and sheaves;

(o) "Rack and pinion elevator" means a power elevator, with or without a counterweight, that is supported, raised, and lowered by a motor or motors that drive a pinion or pinions on a stationary rack mounted in the hoistway;

(p) "Screw column elevator" means a power elevator having an uncounterweighted car that is supported, raised, and lowered by means of a screw thread;

(q) "Rooftop elevator" means a power passenger or freight elevator that operates between a landing at roof level and one landing below and opens onto the exterior roof level of a building through a horizontal opening;

(r) "Special purpose personnel elevator" means an elevator that is limited in size, capacity, and speed, and permanently installed in structures such as grain elevators, radio antenna, bridge towers, underground facilities, dams, power plants, and similar structures to provide vertical transportation of authorized personnel and their tools and equipment only;

(s) "Workmen's construction elevator" means an elevator that is not part of the permanent structure of a building and is used to raise and lower workers and other persons connected with, or related to, the building project;

(t) "Boat launching elevator" means a conveyance that serves a boat launching structure and a beach or water surface and is used for the carrying or handling of boats in which people ride;

(u) "Limited-use/limited-application elevator" means a power passenger elevator where the use and application is limited by size, capacity, speed, and rise, intended principally to provide vertical transportation for people with physical disabilities((;)).

(5) "Escalator" means a power-driven, inclined, continuous stairway used for raising and lowering passengers((;)).

(6) "Dumbwaiter" means a hoisting and lowering mechanism equipped with a car (a) that moves in guides in a substantially vertical direction, (b) the floor area of which does not exceed nine square feet, (c) the inside height of which does not exceed four feet, (d) the capacity of which does not exceed five hundred pounds, and (e) that is used exclusively for carrying materials((;)).

(7) "Automobile parking elevator" means an elevator: (a) Located in either a stationary or horizontally moving hoistway; (b) used exclusively for parking automobiles where, during the parking process, each automobile is moved either under its own power or by means of a power-driven transfer device onto and off the elevator directly into parking spaces or cubicles in line with the elevator; and (c) in which persons are not normally stationed on any level except the receiving level((;)).

(8) "Moving walk" means a passenger carrying device (a) on which passengers stand or walk and (b) on which the passenger carrying surface remains parallel to its direction of motion((;)).

(9) "Belt manlift" means a power driven endless belt provided with steps or platforms and a hand hold for the transportation of personnel from floor to floor((;)).

(10) "Department" means the department of labor and industries((;)).

(11) "Director" means the director of the department or his or her representative((;)).

(12) "Inspector" means an elevator inspector of the department or an elevator inspector of a municipality having in effect an elevator ordinance pursuant to RCW 70.87.200((;)).

(13) "Permit" means a permit issued by the department: (a) To perform conveyance work, other than maintenance; or (b) to operate a conveyance((;)).

(14) "Person" means this state, a political subdivision, any public or private corporation, any firm, or any other entity as well as an individual((;)).

(15) "One-man capacity manlift" means a single passenger, hand-powered counterweighted device, or electric-powered device, that travels vertically in guides and serves two or more landings((;)).

(16) "Private residence conveyance" means a conveyance installed in or on the premises of a single-family dwelling and operated for transporting persons or property from one elevation to another((;)).

(17) "Material hoist" means a hoist that is not a part of a permanent structure used to raise or lower materials during construction, alteration, or demolition. It is not applicable to the temporary use of permanently installed personnel elevators as material hoists((;)).

(18) "Material lift" means a lift that (a) is permanently installed, (b) is comprised of a car or platform that moves in guides, (c) serves two or more floors or landings, (d) travels in a vertical or inclined position, (e) is an isolated, self-contained lift, (f) is not part of a conveying system, and (g) is installed in a commercial or industrial area not accessible to the general public or intended to be operated by the general public((;)).

(19) "Casket lift" means a lift that (a) is installed at a mortuary, (b) is designed exclusively for carrying of caskets, (c) moves in guides in a basically vertical direction, and (d) serves two or more floors or landings((;)).

(20) "Wheelchair lift" means a lift that travels in a vertical or inclined direction and is designed for use by ((physically handicapped persons;)) individuals with disabilities.

(21) "Stairway chair lift" means a lift that travels in a basically inclined direction and is designed for use by ((physically handicapped persons;)) individuals with disabilities.

(22) "Personnel hoist" means a hoist that is not a part of a permanent structure, is installed inside or outside buildings during construction, alteration, or demolition, and used to raise or lower workers and other persons connected with, or related to, the building project. The hoist may also be used for transportation of materials((;)).

(23) "Advisory committee" means the elevator advisory committee as described in this chapter((;)).

(24) "Elevator helper/apprentice" means a person who works under the general direction of a licensed elevator mechanic. A license is not required to be an elevator helper/apprentice((;)).

(25) "Elevator contractor" means any person, firm, or company that possesses an elevator contractor license in accordance with this chapter and who is engaged in the business of performing conveyance work covered by this chapter((;)).

(26) "Elevator mechanic" means any person who possesses an elevator mechanic license in accordance with this chapter and who is engaged in performing conveyance work covered by this chapter((;)).

(27) "License" means a written license, duly issued by the department, authorizing a person, firm, or company to carry on the business of performing conveyance work or to perform conveyance work covered by this chapter((;)).

(28) "Elevator contractor license" means a license that is issued to an elevator contractor who has met the qualification requirements established in RCW 70.87.240((;)).

(29) "Elevator mechanic license" means a license that is issued to a person who has met the qualification requirements established in RCW 70.87.240((;)).

(30) "Licensee" means the elevator mechanic or elevator contractor((;)).

(31) "Conveyance work" means the alteration, construction, dismantling, erection, installation, maintenance, relocation, and wiring of a conveyance((;)).

(32) "Alteration" means any change to equipment, including its parts, components, and/or subsystems, other than maintenance, repair, or replacement((;)).

(33) "Maintenance" means a process of routine examination, lubrication, cleaning, servicing, and adjustment of parts, components, and/or subsystems for the purpose of ensuring performance in accordance with this chapter. "Maintenance" includes repair and replacement, but not alteration((;)).

(34) "Repair" means the reconditioning or renewal of parts, components, and/or subsystems necessary to keep equipment in compliance with this chapter((;)).

(35) "Replacement" means the substitution of a device, component, and/or subsystem in its entirety with a unit that is basically the same as the original for the purpose of ensuring performance in accordance with this chapter((;)).

(36) "Public agency" means a county, incorporated city or town, municipal corporation, state agency, institution of higher education, political subdivision, or other public agency and includes any department, bureau, office, board, commission or institution of such public entities((;)).

(37) "Platform" means a rigid surface that is maintained in a horizontal position at all times when in use, and upon which passengers stand or a load is carried.

(38) "Privately operated manlift" means a hand-powered counterweighted manlift that is located on a farm that does not accept commercial grain and that is used exclusively by the farm operator and the farm operator's family members.

Sec. 2   RCW 70.87.120 and 2008 c 181 s 207 are each amended to read as follows:

(1) The department shall appoint and employ inspectors, as may be necessary to carry out the provisions of this chapter, under the provisions of the rules adopted by the Washington personnel resources board in accordance with chapter 41.06 RCW.

(2)(a) Except as provided in (b) of this subsection, the department shall cause all conveyances to be inspected and tested at least once each year. Inspectors have the right during reasonable hours to enter into and upon any building or premises in the discharge of their official duties, for the purpose of making any inspection or testing any conveyance contained thereon or therein. Inspections and tests shall conform with the rules adopted by the department. The department shall inspect all installations before it issues any initial permit for operation. Permits shall not be issued until the fees required by this chapter have been paid.

(b)(i) Private residence conveyances operated exclusively for single-family use and privately operated manlifts shall be inspected and tested only when required under RCW 70.87.100 or as necessary for the purposes of subsection (4) of this section and shall be exempt from RCW 70.87.090 unless an annual inspection and operating permit are requested by the owner.

(ii) The department may perform additional inspections of a private residence conveyance or a privately operated manlift at the request of the owner of the conveyance. Fees for these inspections shall be in accordance with the schedule of fees adopted for operating permits pursuant to RCW 70.87.030. An inspection requested under this subsection (2)(b)(ii) shall not be performed until the required fees have been paid.

(3) If inspection shows a conveyance to be in an unsafe condition, the department shall issue an inspection report in writing requiring the repairs or alterations to be made to the conveyance that are necessary to render it safe and may also suspend or revoke a permit pursuant to RCW 70.87.125 or order the operation of a conveyance discontinued pursuant to RCW 70.87.145.

(a) A penalty may be assessed under RCW 70.87.185 for failure to correct a violation within ninety days after the owner is notified in writing of inspection results.

(b) The owner may be assessed a penalty under RCW 70.87.185 for failure to submit official notification in writing to the department that all corrections have been completed.

(4) The department may investigate accidents and alleged or apparent violations of this chapter.

(5) During a state of emergency declared under RCW 43.06.010(12), the governor may waive or suspend the collection of fees under this section or any portion of this section or under any administrative rule, and issue any orders to facilitate the operation of state or local government or to promote and secure the safety and protection of the civilian population.

--- END ---