5343-S2 AMH ENVI H4394.2

2SSB 5343  - H COMM AMD

By Committee on Environment

NOT CONSIDERED 03/02/2012

Strike everything after the enacting clause and insert the following:

"NEW SECTION.  Sec. 1   A new section is added to chapter 70.94 RCW to read as follows:

(1) A generator operating at an electric generating project with an installed generator capacity of at least seven hundred fifty kilowatts but not exceeding one thousand kilowatts, that began operating after 2008, and that is located on agricultural lands of long-term commercial significance pursuant to chapter 36.70A RCW, is not bound by permit provisions related to the emissions limit for sulfur established by the department or a local air authority until December 31, 2018, if it is fueled by biogas that:

(a) Is produced by an anaerobic digester that qualifies for the solid waste permitting exemption specified in RCW 70.95.330; and

(b) Contains less than 0.1 percent sulfur by volume, after a start-up period not exceeding one hundred eighty days.

(2) A generator that meets the requirements in subsection (1) of this section may not be located in a federally designated nonattainment or maintenance area.

(3) Upon request, the department or a local air authority must provide technical assistance to a generator meeting the requirements in subsection (1) of this section to assist the generator in reducing its emissions in order to meet the requirements in this chapter.

(4) The definitions in this subsection apply throughout this section unless the context clearly requires otherwise.

(a) "Anaerobic digester" means a vessel that processes organic material into biogas and digestate using microorganisms in a decomposition process within a closed, oxygen-free container.

(b) "Generator" means an internal combustion engine that converts biogas into electricity, and includes any back-up combustion device to burn biogas when an engine is idled for maintenance.

NEW SECTION.  Sec. 2   (1) By December 1, 2012, the department of ecology must submit a report to the appropriate standing committees of the legislature containing information regarding the degree to which current state air quality regulations consider different feed sources for anaerobic digesters and strategies to address the different feed sources used in anaerobic digesters. The department of ecology must consult with interested parties in drafting the report.

(2) The definitions in section 1(4) of this act apply throughout this section."

Correct the title.

EFFECT:  Strikes all of the provisions in the underlying bill. Exempts a generator operating at an electric generating project with an installed generator capacity of at least seven hundred fifty kilowatts, but not exceeding one thousand kilowatts, that began operating after 2008, is located on agricultural lands of long-term commercial significance under the growth management act, and that meets certain conditions for its biogas, from the permit provisions related to the emissions limit for sulfur established by the department of ecology or a local air authority until December 31, 2018. A generator that meets these requirements may not be located in a federally designated nonattainment or maintenance area.

Specifies that upon request, the department of ecology or a local air authority must provide technical assistance to a generator meeting the requirements above in reducing its emissions.

Requires the department of ecology to submit a report by December 1, 2012, to the appropriate standing committees of the legislature containing information regarding the degree to which current state air quality regulations consider different feed sources for anaerobic digesters, and strategies to address the different feed sources used in anaerobic digesters.

--- END ---